[page 1]

Trentham  Dec[embe]r  27th [18]34

To Mr W[illia]m Lewis

Sir,

According to your request

I have examined the repairs and alterations done

at Barlaston Church about four years ago which

are as follows: ---- The old elliptic arch between

the Church and Chancel has been taken out, the

brickwork cut away to extend the opening, and a new

Gothic arch introduced on splayed jambs and molded

caps, new Hopton stone steps have been put down to

approach the Altar; the old oak railing cleaned varnished

and secured to the floor, and a new skirting round the

Chancel painted oak and varnished – the expense of the

above has been defrayed by His Grace and is now in

a good state of repair. - -  An addition has been

made to the width of the Church on the North side of

about 16 feet which contains 183 sittings, 93 of which are free

[page 2]

the total number of sittings in the old part is 196.

a new vestry has been built at the east end of the above

addition, adjoining the Chancel and a small Gallery

erected over the entrance to the Tower from the body

of the Church, - the Tower has been raised about

four feet with new stone parapet and Battlements –

the interior of the new part has been fitted up with

oak pews framed and fixed as those in the old, and every

thing appears complete with the exception that the new oak

should have been stained to correspond with the old, and

the whole varnished, the colours at present being very

opposite though in a good preserved state. –

I am, Sir

Your Obed[ien]t humble Servant

Tho[ma]s Hanley